## 工作表1
Information on the Instruments and Technical Services where Fees are Charged to External Parties
Department/Center | Instrument Name (Technical Service) | Purpose/Descriptions | The standard of fee (If the fee is different for internal and external parties and sister schools, please specify separately) | Contact | TEL Ext. | Email
Department of Chemical Engineering | Ultraviolet spectral spectrometer | The ultraviolet/visible light absorption spectrum is an electronic spectrum produced by the transition of electronic energy order. It is an effective method for performing qualitative or quantitative analysis based on the characteristic absorption spectrum of ultraviolet light and visible light of material molecules or ionic groups. When the electron energy order transitions, both vibrational and rotational energy order transitions occur, so the ultraviolet/visible light absorption spectrum of polyatomic molecules appears as a banded spectrum rather than a linear spectrum. | Users of other departments: NT$100/sample Users of the Chemical Engineering Department: NT$30/sample Units of industry-academy cooperative manufacturer or enterprise with the Department: 50% discount. | Chun-Chen Yang | 4618 | ccyang@mail.mcut.edu.tw
Department of Chemical Engineering | Thermal analyzer | This instrument is used to measure changes in the weight of a sample material under a specified temperature condition. The main principle is to place the sample in a heating furnace that can be programmed to heat, cool, or maintain a constant temperature, and then pass the fixed ambient gas (e.g., nitrogen or oxygen). When the temperature rises to the evaporation temperature, cracking temperature, or oxidation temperature of a material component in the sample, the sample will lose weight due to said evaporation, cracking, or oxidation, and the change of the sample weight with temperature or time shall be recorded in order to determine the cracking temperature, thermal stability, composition proportion, sample purity, moisture content, reduction temperature, or oxidation resistance of the material. | Users of other departments: NT$1000/sample Users of the Chemical Engineering Department: NT$300/sample Units of industry-academy cooperative manufacturer or enterprise with the Department: 50% discount. | Chun-Chen Yang | 4618 | ccyang@mail.mcut.edu.tw
Department of Chemical Engineering | Differential scanning thermal analyzer | This instrument is used to measure the phase change of a substance as it increases or decreases along with temperature. It also provides quantitative and qualitative values for researchers to identify the thermal phase change of a substance, such as melting, oxidation, and other thermal reaction related changes. | Users of other departments: NT$200/sample Users of the Chemical Engineering Department: NT$60/sample Units of industry-academy cooperative manufacturer or enterprise with the Department: 50% discount. | Chun-Chen Yang | 4618 | ccyang@mail.mcut.edu.tw
Department of Chemical Engineering | Inductively coupled plasma optical emission spectrometer cooler | ICP spectroscopy is a spectral analysis method that uses ICP as the emission light source; its full name is inductively coupled plasma optical emission spectrometry (ICP/OES). ICP/OES has been widely used in geology, metallurgy, machinery manufacturing, environmental protection, biomedicine, and other fields due to its good detection limit and analysis accuracy, low matrix interference, wide linear dynamic range, and simple and fast sample processing. It also allows analysts to use a series of standards with reference materials. | Users of other departments: NT$500/sample Users of the Chemical Engineering Department: NT$150/sample Units of industry-academy cooperative manufacturer or enterprise with the Department: 50% discount. | Chun-Chen Yang | 4618 | ccyang@mail.mcut.edu.tw
Department of Chemical Engineering | Surface area analyzer | Under a certain pressure, the particle surface of the tested sample shows reversible physical adsorption to gas molecules at an ultra-low temperature and corresponds to a certain adsorption capacity of pressure. The surface area of the sample can be calculated by using equilibrium adsorption and a theoretical model. | Users of other departments: NT$1000/sample Users of the Chemical Engineering Department: NT$300/sample Units of industry-academy cooperative manufacturer or enterprise with the Department: 50% discount. | Kuo-Tong Lee | 4616 | ktlee@mail.mcut.mit.edu.tw
Department of Chemical Engineering | Potential analyzer and particle size analyzer | When an electric field is applied to both sides of the capillary, the charged particles move towards the opposite electrode. The subsequent interface potential is calculated using the Henry Equation to measure particle movement speed. When the particles are balanced, the larger the potential difference between dispersive liquid and dispersive particles is, the easier it is to maintain the stable suspension state. When the absolute value of potential difference is "> 30mV, it disperses stably; < 30mV, the system is unstable, easy to aggregate; = 0, it is the isopotential point (IEP)." | Users of other departments: NT$100/sample Users of the Chemical Engineering Department: NT$30/sample Units of industry-academy cooperative manufacturer or enterprise with the Department: 50% discount. | Chun-Chen Yang | 4618 | ccyang@mail.mcut.edu.tw
Department of Chemical Engineering | Carbon, hydrogen, nitrogen, and sulfur element balance | The substance to be analyzed is completely burned with oxygen in the presence of an oxidizing catalyst like copper oxide to convert it into CO2, H2O, N2, NXOY, SO2, and SO3; the nitrogen oxide is reduced to a mixture of N2+CO2+H2O+SO2 by copper. This instrument analysis method uses a vertical combustion tube. The substance to be analyzed is placed in the tin container on the automatic sampler, regularly adding into the combustion tube around 1000℃, under the combustion of tin to make a sample combustion temperature as high as 1800℃, so that the sample can burn completely; after reduction with copper, the resulting mixture of N2+CO2+H2O+SO2 is separated by GC Column, and its content is determined by a thermal conductivity detector (TCD). After data processing, the percentage by weight of carbon, hydrogen, nitrogen, and sulfur can be automatically calculated. | Users of other departments: NT$300/sample Users of the Chemical Engineering Department: NT$100/sample Units of industry-academy cooperative manufacturer or enterprise with the Department: 50% discount. | Chun-Chen Yang | 4618 | ccyang@mail.mcut.edu.tw
Department of Chemical Engineering | Contact angle meter | Contact angle measurement is a simple, rapid, and sensitive method for determining the wettability of solid surfaces. This method is widely used in many fields, including pollution control, adhesion operation, surface treatment, and polymer thin layer modification, among others. The contact angle meter Model 100SB controlled by computer can measure dynamic and static contact angles, liquid surface tension, solid surface free energy, etc. | Users of other departments: NT$100/sample Users of the Chemical Engineering Department: NT$30/sample Units of industry-academy cooperative manufacturer or enterprise with the Department: 50% discount. | Chun-Chen Yang | 4618 | ccyang@mail.mcut.edu.tw
Department of Chemical Engineering | Scanning electron microscopy | The electron beam is accelerated towards the test piece by the strong electric field of the electron gun. During this process, the electromagnetic lens, referred to as the concentrator lens, and the object lens shrinks. The scanning signal is then fed into the bias coil, and the electron beam scans the surface of the test piece. After the electron beam hits the test piece, secondary electrons, backscattered electrons, and characteristic X-rays will be emitted. At this time, the secondary electron detector and backscattered electron detector installed in the sample chamber can detect the signal emitted by the sample and then create the image. | Users of other departments: NT$600/sample Users of the Chemical Engineering Department: NT$30/sample Units of industry-academy cooperative manufacturer or enterprise with the Department: 50% discount. | Chun-Chen Yang | 4618 | ccyang@mail.mcut.edu.tw
Department of Chemical Engineering | Scanning electron microscopy - component analysis | EDS can provide qualitative and semi-quantitative component analysis. When the incident electron beam hits the test piece, various signals can be generated, including continuous X-rays and characteristic X-rays. The continuous X-rays are the continuous spectra emitted by the incident electron deceleration and form the background. The characteristic X-rays are generated when the incident electron knocks the inner electron in the atom out of the orbital domain, causing it to be in an unstable state, so the outer electron will migrate into the inner orbital domain to maintain system stability. Due to the high energy of the outer electrons, when the outer electrons migrate into the inner orbital domain, the energy is released, and this is the characteristic X-ray. The characteristic X-ray is the energy difference between specific energy orders, so it can be used to analyze the constituent elements. | Users of other departments: NT$1000/sample Users of the Chemical Engineering Department: NT$60/sample Units of industry-academy cooperative manufacturer or enterprise with the Department: 50% discount. | Chun-Chen Yang | 4618 | ccyang@mail.mcut.edu.tw
Department of Chemical Engineering | Raman spectrometer | Raman spectroscopy can be used to determine the chemical structure of samples and identify the compounds by measuring the molecular vibration. It has good spatial resolution and can also be used to analyze smaller samples. | Users of other departments: NT$800/sample Users of the Chemical Engineering Department: NT$60/sample Units of industry-academy cooperative manufacturer or enterprise with the Department: 50% discount. | Chun-Chen Yang | 4618 | ccyang@mail.mcut.edu.tw
Department of Chemical Engineering | Atomic force microscope | The atomic force microscope (AFM) belongs to scanning probe microscopy (SPM). This microtechnique uses a special tiny probe to detect some sort of interaction between the probe and the sample surface, such as tunneling current, atomic force, magnetic force, nearby field electromagnetic waves, and more. Then a piezoelectric ceramic scanner with three-axis displacement is used to allow for probe scanning before and after or on the left and right of the sample surface (or sample scanning). This further maintains the interaction between the probe and sample fixed in the scanning process through the vertical trimming and feedback circuit of the scanner, the distance of which is between several to hundred A° (10-10 m). As long as the vertical trimming distance of each point on the scanning surface is recorded, we can obtain an isointeraction image of the sample surface, and these data can then be used to derive the characteristics of the sample surface. | Users of other departments: NT$200/sample Users of the Chemical Engineering Department: NT$60/sample Units of industry-academy cooperative manufacturer or enterprise with the Department: 50% discount. | Chun-Chen Yang | 4618 | ccyang@mail.mcut.edu.tw
Department of Chemical Engineering | Dynamic mechanical analyzer | Dynamic mechanical spectroscopy (DMS) and dynamic mechanical analysis (DMA) are commonly used terms for a dynamic thermal mechanical analyzer. The principle keeps the sample at a programmed temperature by applying a vibration of known amplitude and frequency to the material sample in order to measure the function relationship of loss factor (Tanδ) along with temperature, time, force, and frequency. This method is widely used in the thermoplastics and thermosetting plastics fields, as well as rubber, coatings, metals and alloys, inorganic materials, composite materials, and other fields. | Users of other departments: NT$100/sample Users of the Chemical Engineering Department: NT$30/sample Units of industry-academy cooperative manufacturer or enterprise with the Department: 50% discount. | Chun-Chen Yang | 4618 | ccyang@mail.mcut.edu.tw
Department of Chemical Engineering | Laser particle size analyzer | The dynamic light scattering principle (particle size range 0.6-6000 nm) is used to detect the time change of the scattering fringe generated by a particle suspended in Brownian motion. The detector converts the scattered light signal into a current, and then the diffusion coefficient of the particle in the solution is obtained using a digital correlator operation. The particle size is then calculated with the Stockes-Einstein equation. The report content consists of average particle size Z-average and a particle size distribution diagram. | Users of other departments: NT$100/sample Users of the Chemical Engineering Department: NT$30/sample Units of industry-academy cooperative manufacturer or enterprise with the Department: 50% discount. | Chun-Chen Yang | 4618 | ccyang@mail.mcut.edu.tw
Department of Chemical Engineering | Gas chromatograph - mass spectrometer | In this method, a sample is separated by gas chromatography and then introduced into an ionization chamber to convert the atoms or molecules in the sample into ions. If the electrons have enough energy following the high-speed electron collision, the organic molecules may also lose electrons, break bonds, or rearrange to form various low-mass fragment positive ions and neutral free radicals. The positive ions of these different size fragments are then separated and determined according to the mass-to-charge ratio to obtain a mass spectrum that provides information on molecular weight, formula, and structure. | Users of other departments: NT$300/sample Users of the Chemical Engineering Department: NT$100/sample Units of industry-academy cooperative manufacturer or enterprise with the Department: 50% discount. | Shun-Chi Chen | 4627 | scchen@mail.mcut.edu.tw
Department of Chemical Engineering | High performance liquid chromatography | This chromatographic technique is adopted to separate the mixtures for the qualitative and quantitative analysis of unknown samples. | Users of other departments: NT$500/sample Users of the Chemical Engineering Department: NT$150/sample Units of industry-academy cooperative manufacturer or enterprise with the Department: 50% discount. | Shun-Chi Chen | 4627 | scchen@mail.mcut.edu.tw
Department of Chemical Engineering | Atomic absorption spectrometer | The atomic absorption spectrometer mainly consists of a sharp light source, an atomizer (connected with test liquid), a beam splitting system, a detection system, and a power supply synchronous modulation system. When the specific element content is measured, the element's sharp light source emits the characteristic radiation, the test solution is atomized in the atomization device, and the gaseous ground state atoms are dissociated, thus absorbing and weakening the element characteristic radiation. The absorption brightness is measured after the dispersion system and test system, and then the quantitative analysis of the element is performed according to the linear relationship between the absorption brightness and the measured element concentration. | Users of other departments: NT$500/sample Users of the Chemical Engineering Department: NT$150/sample Units of industry-academy cooperative manufacturer or enterprise with the Department: 50% discount. | Shun-Chi Chen | 4627 | scchen@mail.mcut.edu.tw
Department of Chemical Engineering | Fourier infrared spectrometer | Infrared spectroscopy is the study of chemical species such as molecules, ions, or free radicals, etc. via the absorption of infrared electromagnetic wave energy (infrared absorption spectroscopy) or infrared radiation emission (infrared emission spectrum) in the excited state, which is produced in pure rotation, pure vibration, or rotation-vibration energy changes in the electronic ground state. | Users of other departments: NT$500/sample Users of the Chemical Engineering Department: NT$150/sample Units of industry-academy cooperative manufacturer or enterprise with the Department: 50% discount. | Shun-Chi Chen | 4627 | scchen@mail.mcut.edu.tw
Department of Chemical Engineering | Gas chromatography | After injection, the sample solution first enters the vaporization chamber for gasification and is then transported to the tomographic tube column by a carrier gas (usually nitrogen or helium). Different components will be separated in the tube column and then subsequently flow out of the tomographic tube column for detection by the detector to obtain their contents. When determining the content of a component in the sample, a standard sample with known concentration must be analyzed first, and then the retention time and peak area of the standard sample are compared with the sample to be tested in order to calculate the content of the target component in the tested sample. | Users of other departments: NT$500/sample Users of the Chemical Engineering Department: NT$150/sample Units of industry-academy cooperative manufacturer or enterprise with the Department: 50% discount. | Shun-Chi Chen | 4627 | scchen@mail.mcut.edu.tw
Department of Chemical Engineering | Fluorescence spectrometer (FS or PL) | With this method, molecules move to a higher energy order after absorbing the characteristic radiation and then back to the ground state or lower energy order. The emission of radiation with the same or different wavelengths from the original excitation radiation is referred to as the fluorescence. | Users of other departments: NT$500/sample Users of the Chemical Engineering Department: NT$150/sample Units of industry-academy cooperative manufacturer or enterprise with the Department: 50% discount. | Shun-Chi Chen | 4627 | scchen@mail.mcut.edu.tw
Department of Chemical Engineering | Simultaneous thermal analyzer | This method of analysis traces the heat changes of a test sample as a result of temperature causing physical or chemical changes in the sample as it is heated or cooled. | Users of other departments: NT$100/sample Users of the Chemical Engineering Department: NT$300/sample Units of industry-academy cooperative manufacturer or enterprise with the Department: 50% discount. | Shun-Chi Chen | 4627 | scchen@mail.mcut.edu.tw
Department of Chemical Engineering | Ultraviolet spectral spectrometer | When the electrons in a molecule are exposed to light, specific energies will be absorbed. In general, different light energies will cause different electron transitions in the ultraviolet/visible light range, that is, the UV/VIS spectrum. Since each specific functional group can be absorbed at a specific wavelength, UV spectrum can be used as a quantitative measurement of molecular functional group. | Users of other departments: NT$500/sample Users of the Chemical Engineering Department: NT$150/sample Units of industry-academy cooperative manufacturer or enterprise with the Department: 50% discount. | Shun-Chi Chen | 4627 | scchen@mail.mcut.edu.tw
Department of Chemical Engineering | Differential scanning thermal analyzer | When the sample is heated, cooled, or endothermic or exothermic at a constant temperature, DSC can detect these energy changes. DSC can also provide the most accurate temperature measurement values. Relevant applications include glass transfer temperature, phase transition point, oxidation guidance test, cross-connection test, crystallization test, quality control analysis, and cracked material property analysis, among others. | Users of other departments: NT$500/sample Users of the Chemical Engineering Department: NT$150/sample Units of industry-academy cooperative manufacturer or enterprise with the Department: 50% discount. | Shun-Chi Chen | 4627 | scchen@mail.mcut.edu.tw
Department of Chemical Engineering | X-ray diffraction analyzer | An X-ray is the most effective tool for analyzing the structure of materials. X-rays expand metallurgical engineering into the largest engineering of materials science; whether metallurgy, physics, chemistry, biomedicine, electrical machinery, geology, or chemical engineering, an X-ray is used as a research tool in a variety of ways, and understanding atomic structure is the least functional accomplishment. This device has a variety of inspection functions; in addition to providing general angle X-ray diffraction analysis of powders and films, it can also perform low-angle (2 theta = 0.5 degree) analysis, especially for analyzing and identifying microporous or mesoporous structures in nano-materials. It can be directly used for quantitative analysis, composition and phase identification, and crystallization analysis and is suitable for powder, film, or liquid analysis when working with only a small number of samples. It can be applied in the development and preparation of nano-materials, biotechnology, ceramics, metal, polymer, chemical, food, paint, and other industries. | Users of other departments: NT$800/sample Users of the Chemical Engineering Department: NT$250/sample Units of industry-academy cooperative manufacturer or enterprise with the Department: 50% discount. | Tzong-Horng Liou | 4617 | thliou@mail.mcut.edu.tw
Department of Chemical Engineering | Field-induced electron microscopy | A focused electron beam is used to scan the surface of the sample to produce an image of the sample surface. The electron beam excites the atoms to produce different signals, which are then detected by detectors and assembled into images for microscopic analysis. | Users of other departments: NT$600/sample Users of the Chemical Engineering Department: NT$200/sample Units of industry-academy cooperative manufacturer or enterprise with the Department: 50% discount. | Kuo-Tong Lee | 4616 | ktlee@mail.mcut.mit.edu.tw
Department of Chemical Engineering | Field-induced electron microscopy - component analysis | Surface chemical composition analysis can be performed to detect surface elements by detecting the different characteristic X-rays produced by excited atoms. | Users of other departments: NT$1000/sample Users of the Chemical Engineering Department: NT$300/sample Units of industry-academy cooperative manufacturer or enterprise with the Department: 50% discount. | Kuo-Tong Lee | 4616 | ktlee@mail.mcut.mit.edu.tw