## Table_1
Information on the Instruments and Technical Services Where Fees Are Charged to External Parties
Department/Center	Instrument Name (Technical Service)	Purpose/Descriptions	The standard of fee / (If the fee is different for internal and external parties and sister schools, please specify separately)	Contact	TEL Ext.	Email
Organic Electronics Research Center	Luminance meter	Luminance and spectrum can be measured in component analyses by using the spectral luminance based telemetry photometer/colorimeter. NIST-approved photometric and colorimetric measurements are possible with spectroradiometry methods. Moreover, the instrument overcomes the spectral errors inherent to filter instruments.	External party: 800/hr, internal party and sister school: free	Liu, Shun-Wei	0912-219-323	swliu@mail.mcut.edu.tw
Organic Electronics Research Center	Scanning electron microscope	It generates secondary electrons on the surface of the sample by scanning the surface of the sample with a focused electron beam. The amount of secondary electrons that can be detected depends on the topography of the sample and other factors. By scanning the sample and collecting the emitted secondary electrons using a special detector, an image showing the topography of the surface can be created. It can also generate high-resolution images of the sample surface in three dimensions for the identification of the surface structure of the sample. Determination of the surface microstructure of materials.	External party: 2,000 NTD/hr, internal party and sister school: free	Liu, Shun-Wei	0912-219-323	swliu@mail.mcut.edu.tw
Organic Electronics Research Center	Solar simulator	As a light source, it can be used as the equivalent of the sun light source to simulate sunlight irradiation. As it is more compact, / test procedures are not affected by factors, such as environment, climate, and time, avoiding the limitations from various outdoor measurement factors. / The instrument is widely used in solar cell characteristic testing, optoelectronic material characteristic testing, biochemical related testing, accelerated photocatalysis degradation research, skincare and cosmetic product testing, environmental research, etc.	External party: 500 NTD/hr, internal party and sister school: free	Liu,Shun-Wei	0912-219-323	swliu@mail.mcut.edu.tw
Organic Electronics Research Center	Exposure machine	The instrument uses focused electron beams to expose organic polymers. The chemical properties of the photoresist in the area irradiated by the electron beams will change to form well or poorly dissolved areas, eventually forming fine patterns on the resist. This has a wide range of applications, including the patterned photoresist films in the yellow-light process.	External party: 2,500 NTD/hr, internal party and sister school: free	Liu,Shun-Wei	0912-219-323	swliu@mail.mcut.edu.tw
Organic Electronics Research Center	Laser engraver	The instrument is intended for the dry etching of ITO and transparent conductive films. The principle of thin-film circuits on the film surface is that the laser beam emitted by the laser generator can be shaped and expanded by the optical system, and then oscillated and scanned through the galvanometer scanner before entering the flat field focusing lens to focus into a light spot of only one-tenth of human hair. Its high energy density and local high temperature can make the processed material gasify or chemically change rapidly, and the vaporized product is ejected in the form of shock waves for circuit etching or marking. The laser engraver uses the interaction between the laser and the material to divide the conductive circuit film layer (indium tin oxide) in order to create the layout of the sensor layout of the touch panel.	External party: 2,000 NTD/hr, internal party and sister school: free	Liu,Shun-Wei	0912-219-323	swliu@mail.mcut.edu.tw
Organic Electronics Research Center	Impedance analyzer	The instrument is designed for the component impedance measurement of solar cells and photovoltaic researches. It is consisted of a reference-grade potentiostat, a frequency response analyzer (FRA) and a PhotoEchem module for the complete characterization of a range of solar/photovoltaic cells, including perovskite and dye-sensitized solar cells (DSSCs). It can also be used in the development of visible-spectrum photoelectrochemical systems, for example, iron oxide photolysis of water.	External party: 1,000 NTD/hr, internal party and sister school: free	Liu, Shun-Wei	0912-219-323	swliu@mail.mcut.edu.tw